## Slide 1: DIA Data Analysis
Jarrett Egertson, Ph.D.
MacCoss Lab

## Slide 2: DIA Data Analysis Workflow
Peptide Selection
Chromatogram Extraction
Peak Integration
Transition Refinement
Hypothesis Generation
Hypothesis Test

## Slide 3: Hypothesis Generation
Pathway
Complex
Cellular Component
Biological Process
Molecular Function
GO Terms
Modification Sites
ALL PROTEINS!!!

## Slide 4: DIA Data Analysis Workflow
Peptide Selection
Chromatogram Extraction
Peak Integration
Transition Refinement
Hypothesis Generation
Hypothesis Test
All tryptic peptides
High responding peptides
  Similar to SRM
Peptides in a spectral library
Peptides identified by DDA
Peptides detected from DIA with q < 0.01 (PECAN)

## Slide 5: Skyline Demonstration
Analyzing DIA Data

## Slide 6: Problems
Presence/absence of a peptide peak
Selecting the correct peak
Setting integration boundaries correctly
No confidence (p-value, FDR, etc.) assigned

## Slide 7: Improving DIA Data Analysis
Use DDA data
  Acquire DDA data alongside DIA data
  Map PSMs from DDA data to DIA data
  Limits to only DDA identified peptides
  MS/MS quantitation
Spectral library + iRT
PECAN
  Detect peptides from DIA data
Run 1: DDA
Run 2: DIA
Run 3: DIA
Run 4: DIA
Run 5: DDA
DDA
DDA
PSMs
DIA Data

## Slide 8: Skyline Demonstration
DIA + DDA
Video of demonstration:
https://skyline.gs.washington.edu/labkey/project/home/software/Skyline/events/2014%20Webinars/Webinar%202/begin.view

## Slide 9: Using DDA Data
Peptide Selection (identified by DDA)
  Not perfect
Transition Selection (top 5 from DDA)
  Intense in DDA does not always mean great for quantification – needs to be intense AND selective
Peak Picking (retention time alignment from DDA data)
Peak presence/absence (DDA q < 0.01)
LIMITED TO ONLY DDA IDENTIFICATIONS

## Slide 10: Spectrum Counts vs. SRM Signal Intensity: Apolipoprotein B100
Chart: SRM Signal Intensity
 | 7 | 5 | 2 | 4 | 5 | 4 | 7 | 3 | 2 | 8 | 2 | 7 | 5 | 5 | 1 | 2 | 7 | 7 | 4 | 4 | 6 | 3 | 2 | 2 | 6 | 3 | 1 | 3 | 2 | 1 | 10
Prakash, A. et al. J Proteome Res. 2009 8(6): 2733–2739.

## Slide 11: PECAN: Peptide Detection Directly from DIA Data without a prerequisite spectral library
PECAN
Protein sequence DB
APTNVTCILK
Peptides of interest
DIA
Centroid .mzML
1. Peptide scoring
2. Background subtraction
3. Peak picking
4. Statistical analysis
Ting YS – ASMS 2014

## Slide 12: Conclusions
Currently:
  DDA + DIA is a reasonable workflow to improve quantitation for DDA-identified peptides
Very Soon: Realizing the true potential of DIA with Pecan
  Query for any peptide
  Robust MS/MS quantification